SlingShot® 3 Shoulder Brace Quick Application

|  |
| --- |
| **1**J**2****3****Place injured arm in sling.****Put opposite arm through harness****Separate shoulder harness and placestrap over shoulder. Attach with buckle.****and attach with buckle.****OR****Make adjustments to fit****patient;****tighten****posterior slide and****shoulderstraps as****necessary.****Place pillow(s) under****strap.****waist****sling and attach**Scan QR code for Breg’s SlingShot 3 instructional video.breg.com/SS3**OVER**  |

SlingShot® 3 Shoulder Brace

Application Tips

|  |  |  |
| --- | --- | --- |
|  | **(fig. a)** |  |
| **Tip** | **For large chest: add extension****strap accessory (fig. a) to shoulder****harness. This will improve fit for****added comfort.** | **Tip** | **For large chest: simply remove the underarm strap from the harness****for traditional sling fit.** |
|  | **For petite body types: adjust the****shoulderstraps as needed for a****snug fit. Secure back strap and trim excess length.** |
| **Tip** | **For individual fit: adjust the elbow****relief “door” to tightensling or****release the elbow relief “door” to** | **Tip** |
| **relieve olecrenon pressure.** |

2885 Loker Ave. East, Carlsbad, CA 92010

Ph: 800-321-0607 Fax: 800-FAX-BREG (329-2734)

800-897-BREG (2734) 800-959-BREG (2734)

**www.b reg. com**

© 2012 Breg, Inc. Breg is an Orthofix company. All rights reserved. AW-1.96067 Rev B 0312

SlingShot is a registerd trademark of Breg, Inc.