SlingShot® 3 Shoulder Brace Quick Application

|  |
| --- |
| **1**  J  **2**  **3**  **Place injured arm in sling.**  **Put opposite arm through harness**  **Separate shoulder harness and placestrap over shoulder. Attach with buckle.**  **and attach with buckle.**  **OR**    **Make adjustments to fit**  **patient;**  **tighten**  **posterior slide and**  **shoulderstraps as**  **necessary.**        **Place pillow(s) under**  **strap.**  **waist**  **sling and attach**  Scan QR code for Breg’s SlingShot 3 instructional video.  breg.com/SS3  **OVER** |

SlingShot® 3 Shoulder Brace

Application Tips

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | | **(fig. a)** |  | | |
| **Tip** | **For large chest: add extension**  **strap accessory (fig. a) to shoulder**  **harness. This will improve fit for**  **added comfort.** | | **Tip** | | **For large chest: simply remove the underarm strap from the harness**  **for traditional sling fit.** |
|  | | | | **For petite body types: adjust the**  **shoulderstraps as needed for a**  **snug fit. Secure back strap and trim excess length.** | |
| **Tip** | **For individual fit: adjust the elbow**  **relief “door” to tightensling or**  **release the elbow relief “door” to** | | **Tip** |
| **relieve olecrenon pressure.** | | | |

2885 Loker Ave. East, Carlsbad, CA 92010

Ph: 800-321-0607 Fax: 800-FAX-BREG (329-2734)

800-897-BREG (2734) 800-959-BREG (2734)

**www.b reg. com**

© 2012 Breg, Inc. Breg is an Orthofix company. All rights reserved. AW-1.96067 Rev B 0312

SlingShot is a registerd trademark of Breg, Inc.